## CF
Generation in Autria
Public Generators (*)
Energy Capability Factor for run-of-river plants (1)
Month | 2013 | 2014 | MAX 2003 to 2012 | MAX 1993 to 2012 | MAX since 1955 | min 2003 to 2012 | min 1993 to 2012 | min since 1955
January | 1.352 | 0.96068 | 1.3919 | 1.3919 | 1.44 | 0.71504 | 0.71504 | 0.7
February | 1.227 | 0.94608 | 1.0879 | 1.4002 | 1.42 | 0.7952 | 0.74525 | 0.64
March | 1.0644 | 0.92072 | 1.2777 | 1.3356 | 1.38 | 0.8129 | 0.72586 | 0.68
April | 1.106 | 0.93384 | 1.351 | 1.351 | 1.351 | 0.76379 | 0.76379 | 0.63097
May | 1.1082 | 1.0222 | 1.1495 | 1.1722 | 1.1722 | 0.68323 | 0.68323 | 0.68323
June | 0.97059 | 0.86554 | 1.0703 | 1.0793 | 1.1253 | 0.78135 | 0.78135 | 0.78135
July | 0.91818 | 0.91984 | 1.109 | 1.109 | 1.1321 | 0.68095 | 0.68095 | 0.68095
August | 0.78537 | 1.1031 | 1.0886 | 1.0886 | 1.16 | 0.61191 | 0.61191 | 0.61191
September | 1.0535 | 1.3141 | 1.2194 | 1.3082 | 1.3082 | 0.74959 | 0.74959 | 0.69026
October | 1.1547 | 1.1584 | 1.2412 | 1.4102 | 1.4102 | 0.81069 | 0.80729 | 0.66
November | 1.4029 | 1.32 | 1.3318 | 1.6225 | 1.6225 | 0.77037 | 0.77037 | 0.66
December | 0.99558 | 0.99695 | 1.2364 | 1.4443 | 1.4443 | 0.75991 | 0.75991 | 0.69
Year | 1.0699 | 0 | 1.1107 | 1.1603 | 1.1603 | 0.86732 | 0.86732 | 0.84
(*) In terms of electricity statistics all producers other than autogenerators.
(1) For monthly statistics only power plants that have a minimum capacity of at least 10 MWe or are connected to the high-voltage grid.
Source: E-Control

## Res
Generation in Autria
Public Generators (*)
Big reservoirs (2) at end of month
| Month | Energy Content in GWh |  | Fullness Factor in % |  | Fullness Factor in %
[6 empty] | MAX 1998 to 2012 | min 1998 to 2012
|  | 2013 | 2014 | 2013 | 2014
| January | 1818.0282 | 1648.9156 | 56.76% | 51.48% | 65.56% | 40.12%
| February | 1075.9745 | 1429.2052 | 33.59% | 44.62% | 52.5% | 25.07%
| March | 622.8248 | 1070.023 | 19.45% | 33.41% | 36.15% | 14.76%
| April | 572.5733 | 875.1465 | 17.88% | 27.32% | 30.68% | 8.485%
| May | 601.1327 | 1073.9461 | 18.77% | 33.53% | 43.78% | 13.42%
| June | 1447.4992 | 1760.2029 | 45.19% | 54.96% | 68.23% | 40.07%
| July | 1945.0753 | 2405.4549 | 60.73% | 75.1% | 83.82% | 64.3%
| August | 2252.2657 | 2601.1713 | 70.32% | 81.21% | 92.3% | 75.77%
| September | 2359.5416 | 2502.0746 | 73.67% | 78.12% | 92.6% | 77.3%
| October | 2473.5784 | 2391.7281 | 77.23% | 74.67% | 90.65% | 73.58%
| November | 2249.47 | 2241.5455 | 70.23% | 69.98% | 85.34% | 67.11%
| December | 1894.8445 | 1791.7343 | 59.16% | 55.94% | 75.83% | 52.34%
2013 in GWh
2014 in GWh
2013 in %
2013 in %
MAX 1998 to 2012 in %
min 1998 to 2012 in %
(*) In terms of electricity statistics all producers other than autogenerators.
(2) Covering all head installations (reservoirs) that have a minimum capacity of at least 25 MWe or are connected to the high-voltage grid.
Source: E-Control

## Cal
Generation in Autria
Public Generators (*)
Fuel Stocks (3) at end of month
| Month | Stocks in GWh |  | Stocks in % of Monthly Maximum |  | Stocks in % of Mon. Max.
[6 empty] | MAX 1998 to 2012 | min 1998 to 2012
|  | 2013 | 2014 | 2013 | 2014
| January | 5911.4923 | 5230.4452 | 90.29% | 83.12% | 100% | 63.17%
| February | 5595.423 | 5187.3592 | 85.46% | 82.43% | 94.36% | 61.7%
| March | 5500.5481 | 5371.4118 | 84.01% | 85.36% | 91.37% | 65.93%
| April | 5584.8179 | 5470.3491 | 85.3% | 86.93% | 94.5% | 70.91%
| May | 5711.4904 | 5764.6628 | 87.23% | 91.61% | 96.23% | 75.42%
| June | 6013.0131 | 6032.6972 | 91.84% | 95.87% | 98.4% | 80.66%
| July | 6423.0672 | 6244.1498 | 98.1% | 99.23% | 99.06% | 87.05%
| August | 6547.2823 | 6292.8249 | 100% | 100% | 100% | 92.19%
| September | 6373.254 | 6173.6919 | 97.34% | 98.11% | 100% | 94.77%
| October | 6136.3965 | 5942.1953 | 93.72% | 94.43% | 100% | 92.79%
| November | 5863.6813 | 5595.4684 | 89.56% | 88.92% | 100% | 87.31%
| December | 5545.6892 | 5329.8867 | 84.7% | 84.7% | 99.8% | 82.02%
2013 in GWh
2014 in GWh
2013 in % of Mon. Max.
2014 in % of Mon. Max.
MAX 1998 to 2012 in %
min 1998 to 2012 in %
(*) In terms of electricity statistics all producers other than autogenerators.
(3) Covering fossil fuels in all conventional thermal units that have a minimum capacity of at least 25 MWe or are connected to the high-voltage grid.
Source: E-Control