## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
Load Zones | Monthly peak demand and energy data for this year by load zone
Weather Zones | Monthly peak demand and energy data for this year by weather zone
Energy by Fuel Type | Actual energy and percentages by fuel type
Energy by Fuel Chart | Stacked chart of MWh by fuel type by month
Energy Comparisons | Bar graphs comparing this year's energy with last year's and with forecasted
Demand Comparisons | Graphs comparing this year's monthly peaks with last year's and with forecasted
2017-08-07 | 15:07

## Disclaimer
DEMAND AND ENERGY REPORT
For Planning Purposes Only
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been
developed from data provided through the settlement process. The data may contain errors or become obsolete
and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS
OR IMPLIED,INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE,
AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR
APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH
ALL FAULTS.
ERCOT publishes the values in this report based on the Initial Settlement occurring approximately five days after
the Operating Day. These values are updated to reflect Final Settlements (occurring 55 days after each Operating
Day of the month), lagged by two months after the end of the month. On each tab of this spreadshet there is a
column titled "Settlement Type" indicating whether the values are based on the Initial or Final Settlement for the month.
In instances where a generator is capable of using multiple fuels, the primary fuel is used in this report.

## Demand
Demand for 2017
Net System Maximum Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2017 Demand, MW | 59649.9652 | 42743.1155 | 47116.0625 | 53486.2844 | 59263.6452 | Jun: 67617.4695; Jul: 69496.2398 | 69496.2398
Date | 01/06/2017 | 02/16/2017 | 03/20/2017 | 04/28/2017 | 05/26/2017 | Jun: 06/23/2017; Jul: 07/28/2017
Hour ending | 19:00 | 08:00 | 18:00 | 17:00 | 17:00 | Jun: 17:00; Jul: 17:00
Day of the week | Friday | Thursday | Monday | Friday | Friday | Jun: Friday; Jul: Friday
Forecasted Demand, MW | 54417.0887 | 52494.9767 | 46877.7555 | 51622.3562 | 58907.8584 | 66915.332 | 68657.2995 | 72933.5504 | 64448.5906 | 56096.8287 | 45791.0068 | 52669.4305 | 72933.5504
Difference, percent | 9.616% | -18.58% | 0.5084% | 3.611% | 0.604% | Jun: 1.049%; Jul: 1.222% | 1.222%
2016 Demand, MW | 49262.5579 | 47416.4923 | 43347.1873 | 50932.0834 | 57223.8273 | 64896.2601 | 67468.9318 | 71110.1039 | 66948.5662 | 59864.268 | 50012.3511 | 57932.4325 | 71110.1039
Date | 01/11/2016 | 02/04/2016 | 03/31/2016 | 04/25/2016 | 05/10/2016 | 06/15/2016 | 07/14/2016 | 08/11/2016 | 09/19/2016 | 10/05/2016 | 11/02/2016 | 12/19/2016
Hour ending | 08:00 | 08:00 | 18:00 | 18:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 16:00 | 08:00
Day of the week | Monday | Thursday | Thursday | Monday | Tuesday | Wednesday | Thursday | Thursday | Monday | Wednesday | Wednesday | Monday
Increase, MW | 10387.4073 | -4673.3768 | 3768.8752 | 2554.201 | 2039.8179 | Jun: 2721.2094; Jul: 2027.3079
Increase, percent | 21.09% | -9.856% | 8.695% | 5.015% | 3.565% | Jun: 4.193%; Jul: 3.005%
Max All Time, MW | 59649.9652 | 57265 | 54587.4097 | 53486.2844 | 59263.6452 | 67617.4695 | 69496.2398 | 71110.1039 | 66948.5662 | 59864.268 | 50807.3407 | 57932.4325
Date | 01/06/2017 at 19:00 | 02/10/2011 at 08:00 | 03/03/2014 at 08:00 | 04/28/2017 at 17:00 | 05/26/2017 at 17:00 | 06/23/2017 at 17:00 | 07/28/2017 at 17:00 | 08/11/2016 at 17:00 | 09/19/2016 at 17:00 | 10/05/2016 at 17:00 | 11/17/2014 at 08:00 | 12/19/2016 at 08:00
Net System Maximum Demand based on 15-Minute Intervals
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2017 Demand, MW | 59780.4725 | 43288.0872 | 47289.1707 | 53594.8638 | 59376.2065 | Jun: 67679.9152; Jul: 69613.5598 | 69613.5598
Date | 01/06/2017 | 02/16/2017 | 03/21/2017 | 04/28/2017 | 05/26/2017 | Jun: 06/23/2017; Jul: 07/28/2017
Interval ending | 19:00 | 07:15 | 17:00 | 17:00 | 16:30 | Jun: 16:45; Jul: 17:00
Day of the week | Friday | Thursday | Tuesday | Friday | Friday | Jun: Friday; Jul: Friday
Max All Time, MW | 59780.4725 | 57971 | 54660.2529 | 53594.8638 | 59376.2065 | 67679.9152 | 69613.5598 | 71150.3145 | 67070.857 | 59955.5331 | 51272.8524 | 58048.2808
Date | 01/06/2017 at 19:00 | 02/10/2011 at 07:15 | 03/03/2014 at 07:30 | 04/28/2017 at 17:00 | 05/26/2017 at 16:30 | 06/23/2017 at 16:45 | 07/28/2017 at 17:00 | 08/11/2016 at 16:30 | 09/19/2016 at 16:00 | 10/05/2016 at 16:30 | 11/17/2014 at 07:15 | 12/19/2016 at 07:30
Net System Minimum Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2017 Demand, MW | 26804.6604 | 26064.5673 | 26856.7651 | 25501.1054 | 25835.4827 | Jun: 30914.8145; Jul: 34382.2701
Date | 01/02/2017 | 02/23/2017 | 03/18/2017 | 04/24/2017 | 05/01/2017 | Jun: 06/05/2017; Jul: 07/16/2017
Interval ending | 03:45 | 03:30 | 05:00 | 03:00 | 03:00 | Jun: 04:00; Jul: 07:00
Day of the week | Monday | Thursday | Saturday | Monday | Monday | Jun: Monday; Jul: Sunday
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy
Energy for 2017
Net Energy for Load
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2017 Energy, MWh | 27326927.613 | 22997836.39 | 25973797.2339 | 26062928.5983 | 30104291.5164 | Jun: 33922141.0664; Jul: 38326056.7221 | 204713979.1401
2017 YTD Energy, MWh | 27326927.613 | 50324764.003 | 76298561.2369 | 102361489.8352 | 132465781.3515 | Jun: 166376263.8834; Jul: 204713979.1401
Forecasted Energy, MWh | 28142930.0393 | 24958475.5399 | 25770918.3489 | 25872675.8134 | 30086695.4086 | 34261687.8399 | 36788247.4577 | 37815623.5815 | 31627862.6019 | 27861832.0225 | 25195300.9484 | 28046116.3976 | 356428365.9994
Difference, percent | -2.9% | -7.856% | 0.7872% | 0.7353% | 0.0585% | Jun: -0.991%; Jul: 4.18% | -0.5671%
YTD Forecasted Energy, MWh | 28142930.0393 | 53101405.5791 | 78872323.928 | 104744999.7414 | 134831695.15 | 169093382.9899 | 205881630.4476 | 243697254.0291 | 275325116.631 | 303186948.6535 | 328382249.6019 | 356428365.9994
YTD Difference, percent | -2.9% | -5.229% | -3.263% | -2.276% | -1.755% | Jun: -1.607%; Jul: -0.5671%
2016 Energy, MWh | 27538067.6263 | 23596332.7493 | 24330487.6448 | 25071982.0839 | 28542014.6632 | 33391884.6925 | 38228287.3874 | 36472771.8956 | 32954881.0451 | 29236415.011 | 24505422.8639 | 27690753.4979 | 351559301.161
Increase, MWh | -211140.0133 | -598496.3593 | 1643309.5891 | 990946.5143 | 1562276.8532 | Jun: 530256.3739; Jul: 97769.3347 | 4014922.2926
Increase, percent | -0.7667% | -2.536% | 6.754% | 3.952% | 5.474% | Jun: 1.588%; Jul: 0.2558% | 2%
2016 YTD Energy, MWh | 27538067.6263 | 51134400.3756 | 75464888.0204 | 100536870.1043 | 129078884.7675 | 162470769.4601 | 200699056.8475 | 237171828.7431 | 270126709.7882 | 299363124.7993 | 323868547.6631 | 351559301.161
Increase, MWh | -211140.0133 | -809636.3726 | 833673.2165 | 1824619.7308 | 3386896.584 | Jun: 3905494.4233; Jul: 4014922.2926
Increase, percent | -0.7667% | -1.583% | 1.105% | 1.815% | 2.624% | Jun: 2.404%; Jul: 2%
Net System Load Factors based on Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Demand Factors 2017 | 61.58% | 80.07% | 74.2% | 67.68% | 68.28% | Jun: 69.68%; Jul: 74.12% | 57.91%
Demand Factors 2016 | 75.14% | 71.5% | 75.54% | 68.37% | 67.04% | 71.46% | 76.16% | 68.94% | 68.37% | 65.64% | 67.96% | 64.25% | 56.28%
Net System Load Factors based on 15-Minute Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Demand Factors 2017 | 61.44% | 79.06% | 73.92% | 67.54% | 68.15% | Jun: 69.61%; Jul: 74% | 57.81%
* Information for this month has been updated based on final settlements.

## Load Zones
Demand and Energy by Load Settlement Zone for 2017
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 2129.4002 | 1562.1381 | 1767.381 | 2187.1347 | 2065.145 | Jun: 2651.0382; Jul: 2596.3687
LZ_CPS | 4126.2844 | 2834.7973 | 3111.9636 | 4025.9172 | 3827.6877 | Jun: 4891.9119; Jul: 4723.7707
LZ_HOUSTON | 13590.6377 | 10139.6227 | 13456.2703 | 15252.9461 | 15599.3952 | Jun: 17385.9487; Jul: 18531.9492
LZ_LCRA | 2581.7146 | 1735.6406 | 1461.6766 | 1959.7281 | 1851.1166 | Jun: 2596.0631; Jul: 2583.1271
LZ_NORTH | 23711.9641 | 16792.9491 | 16555.0966 | 17424.3005 | 22287.9069 | Jun: 25077.1487; Jul: 26413.6854
LZ_RAYBN | 921.0857 | 589.9837 | 404.1943 | 450.1205 | 657.1588 | Jun: 750.3847; Jul: 712.9299
LZ_SOUTH | 8154.8099 | 5566.8338 | 6295.0161 | 8024.4463 | 8207.349 | Jun: 8969.0492; Jul: 8801.373
LZ_WEST | 4564.5759 | 4066.1217 | 4237.5723 | 4270.2704 | 4880.4472 | Jun: 5358.3706; Jul: 5250.3558
Net Zone Non-Coincident Peak Demand, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 2129.4002 | 1679.0142 | 1902.4044 | 2197.2899 | 2193.4357 | Jun: 2656.8523; Jul: 2626.9565
Date and Time | 6 @ 19:00 | 23 @ 17:00 | 27 @ 17:00 | 28 @ 17:45 | 3 @ 17:00 | Jun: 23 @ 18:00; Jul: 20 @ 18:15
LZ_CPS | 4126.2844 | 3037.9723 | 3417.8019 | 4064.8464 | 4301.0136 | Jun: 4978.4586; Jul: 4928.8288
Date and Time | 6 @ 19:00 | 23 @ 17:00 | 27 @ 17:45 | 28 @ 18:00 | 27 @ 17:45 | Jun: 23 @ 18:00; Jul: 30 @ 16:30
LZ_HOUSTON | 13648.7451 | 13076.3157 | 14354.9216 | 15404.0167 | 16076.2748 | Jun: 17804.014; Jul: 18690.8683
Date and Time | 6 @ 18:00 | 8 @ 16:00 | 28 @ 16:15 | 28 @ 16:15 | 27 @ 16:00 | Jun: 19 @ 16:45; Jul: 27 @ 15:30
LZ_LCRA | 2809.9069 | 1735.6406 | 1628.5956 | 1959.7281 | 2129.5457 | Jun: 2612.5482; Jul: 2694.0603
Date and Time | 7 @ 08:00 | 16 @ 07:15 | 27 @ 18:00 | 28 @ 17:00 | 27 @ 18:00 | Jun: 23 @ 18:00; Jul: 29 @ 17:30
LZ_NORTH | 23711.9641 | 16792.9491 | 16720.4739 | 17689.7793 | 22396.3495 | Jun: 25077.1487; Jul: 26413.6854
Date and Time | 6 @ 19:00 | 16 @ 07:15 | 20 @ 17:45 | 20 @ 17:30 | 26 @ 16:00 | Jun: 23 @ 16:45; Jul: 28 @ 17:00
LZ_RAYBN | 969.0493 | 593.2142 | 530.8019 | 524.721 | 657.1588 | Jun: 756.763; Jul: 738.7769
Date and Time | 7 @ 08:00 | 16 @ 07:00 | 14 @ 07:30 | 29 @ 16:30 | 26 @ 16:30 | Jun: 23 @ 17:45; Jul: 22 @ 17:30
LZ_SOUTH | 8565.031 | 6179.1804 | 6580.3811 | 8026.2706 | 8240.5892 | Jun: 9080.0933; Jul: 9024.5959
Date and Time | 7 @ 08:15 | 8 @ 16:30 | 27 @ 16:45 | 28 @ 16:45 | 27 @ 17:15 | Jun: 22 @ 16:00; Jul: 29 @ 16:30
LZ_WEST | 4696.5133 | 4263.9691 | 4237.5723 | 4365.182 | 4913.7354 | Jun: 5383.3874; Jul: 5284.8044
Date and Time | 6 @ 07:30 | 3 @ 07:15 | 21 @ 17:00 | 20 @ 17:00 | 27 @ 17:45 | Jun: 23 @ 15:30; Jul: 27 @ 16:30
Net Energy for Load, MWh
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 1012816.784 | 881226.94 | 995749.7267 | 1010410.1418 | 1142311.4879 | Jun: 1307094.0281; Jul: 1487040.5335
LZ_CPS | 1699042.6622 | 1460475.255 | 1651891.6387 | 1730519.694 | 1988195.7101 | Jun: 2328727.183; Jul: 2644406.6663
LZ_HOUSTON | 7094089.0905 | 6264331.3633 | 7352529.4889 | 7316976.6437 | 8409035.7399 | Jun: 9307792.2137; Jul: 10421438.3875
LZ_LCRA | 904010.4205 | 709818.7442 | 786320.2637 | 796303.3966 | 930038.2571 | Jun: 1129108.0765; Jul: 1337336.191
LZ_NORTH | 10009281.4262 | 8036869.5951 | 8799860.4504 | 8733086.5584 | 10215482.1604 | Jun: 11813628.6232; Jul: 13805925.2194
LZ_RAYBN | 306092.8043 | 218021.8224 | 226293.0981 | 218549.1883 | 263632.5202 | Jun: 321406.9547; Jul: 346521.0011
LZ_SOUTH | 3563641.0743 | 3065324.7865 | 3571600.559 | 3719830.2645 | 4378199.3723 | Jun: 4709943.3981; Jul: 5091365.7519
LZ_WEST | 2737953.3511 | 2361767.8835 | 2589552.0084 | 2537252.711 | 2777396.2686 | Jun: 3004440.5891; Jul: 3192022.9714
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Weather Zones
Demand and Energy by Weather Zone for 2017
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec
COAST | 14557.924 | 10903.3468 | 14277.1764 | 16124.6705 | 16540.5174 | Jun: 18353.7505; Jul: 19522.8595
EAST | 2180.8573 | 1642.7638 | 1565.6062 | 1891.0982 | 1935.3669 | Jun: 2130.0404; Jul: 2425.7141
FWEST | 2575.8357 | 2433.6399 | 2576.5481 | 2633.161 | 2894.7518 | Jun: 3144.998; Jul: 2990.5179
NCENT | 22111.7167 | 15492.5288 | 15175.9106 | 15767.5473 | 20668.6295 | Jun: 23340.838; Jul: 24332.4315
NORTH | 1244.9783 | 965.4124 | 916.5587 | 890.5304 | 1208.3256 | Jun: 1314.9629; Jul: 1388.4397
SCENT | 10394.04 | 7246.7716 | 7504.9601 | 9627.4638 | 9123.6418 | Jun: 11847.0257; Jul: 11610.098
SOUTH | 4975.7404 | 3214.6371 | 3953.3469 | 5245.3832 | 5389.3311 | Jun: 5646.4466; Jul: 5480.3816
WEST | 1739.3802 | 1388.9867 | 1319.0637 | 1415.0095 | 1615.6424 | Jun: 1901.8532; Jul: 1863.1175
Net Zone Non-Coincident Peak Demand, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec
COAST | 14629.9974 | 13822.063 | 15239.3749 | 16278.4084 | 17059.7143 | Jun: 18716.3812; Jul: 19649.7898
Date and Time | 6 @ 18:00 | 8 @ 16:00 | 28 @ 16:15 | 28 @ 16:15 | 27 @ 16:00 | Jun: 19 @ 16:45; Jul: 27 @ 15:30
EAST | 2243.7907 | 1712.996 | 1657.1141 | 1961.0309 | 2009.5982 | Jun: 2321.0103; Jul: 2429.8365
Date and Time | 7 @ 08:30 | 16 @ 07:00 | 20 @ 16:00 | 28 @ 17:15 | 26 @ 15:45 | Jun: 30 @ 15:45; Jul: 28 @ 16:30
FWEST | 2660.6071 | 2507.453 | 2576.5481 | 2692.8807 | 2894.7518 | Jun: 3173.3538; Jul: 3050.9042
Date and Time | 6 @ 07:30 | 3 @ 07:15 | 21 @ 17:00 | 19 @ 17:00 | 26 @ 16:30 | Jun: 23 @ 15:30; Jul: 27 @ 16:30
NCENT | 22111.7167 | 15492.5288 | 15303.9045 | 16193.4926 | 20758.008 | Jun: 23352.6198; Jul: 24371.4338
Date and Time | 6 @ 19:00 | 16 @ 07:15 | 20 @ 17:45 | 20 @ 17:45 | 26 @ 16:00 | Jun: 23 @ 17:30; Jul: 28 @ 17:30
NORTH | 1278.3041 | 984.2764 | 923.6858 | 918.1196 | 1208.3256 | Jun: 1322.6879; Jul: 1395.6434
Date and Time | 7 @ 07:45 | 9 @ 07:15 | 20 @ 17:00 | 25 @ 17:45 | 26 @ 16:30 | Jun: 23 @ 15:30; Jul: 20 @ 16:30
SCENT | 10527.728 | 7246.7716 | 8151.2543 | 9668.9709 | 10139.5908 | Jun: 12020.9822; Jul: 11998.2967
Date and Time | 7 @ 08:00 | 16 @ 07:15 | 27 @ 17:45 | 28 @ 17:45 | 27 @ 18:00 | Jun: 23 @ 18:00; Jul: 29 @ 17:45
SOUTH | 5277.5867 | 4096.5858 | 4244.033 | 5257.2356 | 5393.5063 | Jun: 5870.0544; Jul: 5645.2533
Date and Time | 7 @ 09:15 | 8 @ 16:30 | 29 @ 16:45 | 28 @ 16:30 | 26 @ 16:45 | Jun: 22 @ 16:00; Jul: 31 @ 15:30
WEST | 1870.1928 | 1390.2842 | 1319.0637 | 1442.5514 | 1661.2052 | Jun: 1904.0572; Jul: 1895.3923
Date and Time | 7 @ 08:00 | 3 @ 07:15 | 21 @ 17:00 | 21 @ 17:00 | 27 @ 17:30 | Jun: 23 @ 16:30; Jul: 29 @ 17:45
Net Zone Energy, MWh
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec
COAST | 7588434.2591 | 6664114.5223 | 7871475.8209 | 7806875.8964 | 9010858.2397 | Jun: 9918997.992; Jul: 11057076.5115
EAST | 949487.7025 | 799698.1406 | 904358.3605 | 907238.7199 | 1004083.7972 | Jun: 1136355.4616; Jul: 1293272.4329
FWEST | 1666306.9377 | 1469336.3769 | 1623417.41 | 1607663.3574 | 1756411.8821 | Jun: 1855441.695; Jul: 1925520.3167
NCENT | 9218044.8339 | 7339016.8309 | 8009069.1027 | 7924120.8728 | 9332965.6255 | Jun: 10831547.0836; Jul: 12664992.6483
NORTH | 613632.7973 | 492614.0331 | 524501.3797 | 505850.139 | 573987.4669 | Jun: 657657.496; Jul: 756810.3423
SCENT | 4278650.4839 | 3622362.4013 | 4081027.7871 | 4204646.8891 | 4805956.3459 | Jun: 5620132.8846; Jul: 6452295.9959
SOUTH | 2168513.1837 | 1915585.0113 | 2211864.8718 | 2367685.6815 | 2804807.325 | Jun: 2969125.1249; Jul: 3151580.2321
WEST | 843857.4149 | 695109.0737 | 748082.5011 | 738847.0421 | 815220.8341 | Jun: 932883.3287; Jul: 1024508.2423
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy by Fuel Type
Energy by Fuel Type for 2017
Energy by Fuel Type, MWh
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Biomass | 56248.3394 | 37287.6907 | 56746.3122 | 51970.459 | 40667.1058 | Jun: 46963.5809; Jul: 30726.7091 | 320610.1971
Coal | 9731896.4847 | 6901993.7859 | 7068925.4063 | 8744423.955 | 9922481.0722 | Jun: 10900884.9433; Jul: 11642400.996 | 64913006.6434
Gas | 746708.3919 | 480056.5272 | 825164.9985 | 974954.3183 | 1162016.7219 | Jun: 2511229.7093; Jul: 3572191.4743 | 10272322.1414
Gas-CC | 7425136.7296 | 6626433.5788 | 7981716.8505 | 7679780.0167 | 9325257.3655 | Jun: 12702298.8196; Jul: 15827391.3271 | 67568014.6878
Hydro | 97412.5126 | 74195.2159 | 80471.1501 | 155097.3495 | 80255.9908 | Jun: 83757.3733; Jul: 74128.6875 | 645318.2796
Net DC/BLT | -46782.3435 | -28705.5072 | -80449.2459 | -66343.2721 | -64067.1032 | Jun: -54373.5472; Jul: 27624.4213 | -313096.5978
Nuclear | 3803973.9656 | 3423295.0578 | 3290729.6343 | 1844380.117 | 3543242.9254 | Jun: 2826449.183; Jul: 2793772.8935 | 21525843.7765
Other | 2608.098 | 2783.765 | 2585.2595 | 4306.7206 | 3796.9513 | Jun: -412.2332; Jul: -192.6008 | 15475.9604
Solar | 96253.4349 | 121820.058 | 165158.1363 | 193417.4284 | 212105.2464 | Jun: 223968.7901; Jul: 248488.6958 | 1261211.79
Wind | 5413471.9999 | 5358676.218 | 6582748.7321 | 6480941.5058 | 5878535.2403 | Jun: 4681374.4474; Jul: 4109524.1182 | 38505272.2618
Total | 27326927.613 | 22997836.39 | 25973797.2339 | 26062928.5983 | 30104291.5164 | Jun: 33922141.0664; Jul: 38326056.7221 | 204713979.1401
Energy by Fuel Type, Percent
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Biomass | 0.2058% | 0.1621% | 0.2185% | 0.1994% | 0.1351% | Jun: 0.1384%; Jul: 0.0802% | 0.1566%
Coal | 35.61% | 30.01% | 27.22% | 33.55% | 32.96% | Jun: 32.14%; Jul: 30.38% | 31.71%
Gas | 2.732% | 2.087% | 3.177% | 3.741% | 3.86% | Jun: 7.403%; Jul: 9.32% | 5.018%
Gas-CC | 27.17% | 28.81% | 30.73% | 29.47% | 30.98% | Jun: 37.45%; Jul: 41.3% | 33.01%
Hydro | 0.3565% | 0.3226% | 0.3098% | 0.5951% | 0.2666% | Jun: 0.2469%; Jul: 0.1934% | 0.3152%
Net DC/BLT | -0.1712% | -0.1248% | -0.3097% | -0.2546% | -0.2128% | Jun: -0.1603%; Jul: 0.0721% | -0.1529%
Nuclear | 13.92% | 14.89% | 12.67% | 7.077% | 11.77% | Jun: 8.332%; Jul: 7.29% | 10.52%
Other | 0.0095% | 0.0121% | 0.01% | 0.0165% | 0.0126% | Jun: -0.0012%; Jul: -0.0005% | 0.0076%
Solar | 0.3522% | 0.5297% | 0.6359% | 0.7421% | 0.7046% | Jun: 0.6602%; Jul: 0.6484% | 0.6161%
Wind | 19.81% | 23.3% | 25.34% | 24.87% | 19.53% | Jun: 13.8%; Jul: 10.72% | 18.81%
Total | 100% | 100% | 100% | 100% | 100% | Jun: 100%; Jul: 100% | 100%
* Information for this month has been updated based on final settlements.
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual
fuel units. Dual fuel units are included in the category of their primary fuel.
A positive value in the 'Net DC/BLT' row indicates import of power, negative indicates export.
Other includes petroleum coke, distillate fuel oil, and any other or unknown fuel. This category also includes adjustments for Wholesale Storage Load.

## Energy by Fuel Chart
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Biomass | 56.2483 | 37.2877 | 56.7463 | 51.9705 | 40.6671 | Jun: 46.9636; Jul: 30.7267
Coal | 9731.8965 | 6901.9938 | 7068.9254 | 8744.424 | 9922.4811 | Jun: 10900.8849; Jul: 11642.401
Gas | 746.7084 | 480.0565 | 825.165 | 974.9543 | 1162.0167 | Jun: 2511.2297; Jul: 3572.1915
Gas-CC | 7425.1367 | 6626.4336 | 7981.7169 | 7679.78 | 9325.2574 | Jun: 12702.2988; Jul: 15827.3913
Hydro | 97.4125 | 74.1952 | 80.4711 | 155.0973 | 80.256 | Jun: 83.7574; Jul: 74.1287
Net DC/BLT | -46.7823 | -28.7055 | -80.4492 | -66.3433 | -64.0671 | Jun: -54.3735; Jul: 27.6244
Nuclear | 3803.974 | 3423.2951 | 3290.7296 | 1844.3801 | 3543.2429 | Jun: 2826.4492; Jul: 2793.7729
Other | 2.6081 | 2.7838 | 2.5853 | 4.3067 | 3.797 | Jun: -0.41223; Jul: -0.1926
Solar | 96.2534 | 121.8201 | 165.1581 | 193.4174 | 212.1052 | Jun: 223.9688; Jul: 248.4887
Wind | 5413.472 | 5358.6762 | 6582.7487 | 6480.9415 | 5878.5352 | Jun: 4681.3744; Jul: 4109.5241
* Information for this month has been updated based on final settlements.

## data_Energy by Fuel Chart_1 (hidden)
| Nuclear | Coal | Wind | Solar | Hydro | Biomass | Other | Net DC/BLT | Gas-CC | Gas
Jan* | 3804 | 9732 | 5413 | 96 | 97 | 56 | 3 | -47 | 7425 | 747
Feb* | 3423 | 6902 | 5359 | 122 | 74 | 37 | 3 | -29 | 6626 | 480
Mar* | 3291 | 7069 | 6583 | 165 | 80 | 57 | 3 | -80 | 7982 | 825
Apr* | 1844 | 8744 | 6481 | 193 | 155 | 52 | 4 | -66 | 7680 | 975
May* | 3543 | 9922 | 5879 | 212 | 80 | 41 | 4 | -64 | 9325 | 1162
Jun | 2826 | 10901 | 4681 | 224 | 84 | 47 | 0 | -54 | 12702 | 2511
Jul | 2794 | 11642 | 4110 | 248 | 74 | 31 | 0 | 28 | 15827 | 3572
Aug
Sep
Oct
Nov
Dec

## Energy Comparisons
* Information for this month has been updated based on final settlements.
* Information for this month has been updated based on final settlements.

## data_Energy Comparisons_1 (hidden)
| 2016 Actual | 2017 Actual
Jan* | 27538 | 27327
Feb* | 23596 | 22998
Mar* | 24330 | 25974
Apr* | 25072 | 26063
May* | 28542 | 30104
Jun | 33392 | 33922
Jul | 38228 | 38326
Aug
Sep
Oct
Nov
Dec

## data_Energy Comparisons_2 (hidden)
| 2017 Forecast | 2017 Actual
Jan* | 28143 | 27327
Feb* | 24958 | 22998
Mar* | 25771 | 25974
Apr* | 25873 | 26063
May* | 30087 | 30104
Jun | 34262 | 33922
Jul | 36788 | 38326
Aug
Sep
Oct
Nov
Dec

## Demand Comparisons
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.

## data_Demand Comparisons_1 (hidden)
| 2016 Actual | 2017 Actual
Jan* | 49263 | 59650
Feb* | 47416 | 42743
Mar* | 43347 | 47116
Apr* | 50932 | 53486
May* | 57224 | 59264
Jun | 64896 | 67617
Jul | 67469 | 69496
Aug
Sep
Oct
Nov
Dec

## data_Demand Comparisons_2 (hidden)
| 2017 Forecast | 2017 Actual
Jan* | 54417 | 59650
Feb* | 52495 | 42743
Mar* | 46878 | 47116
Apr* | 51622 | 53486
May* | 58908 | 59264
Jun | 66915 | 67617
Jul | 68657 | 69496
Aug
Sep
Oct
Nov
Dec